Analysis on Solar Panel Crack Detection Using Optimization Techniques

M.D. Dafny Lydia1,, K. Sri Sindhu2, K. Gugan3

1	AMET University, Kanathur, Chennai-603112, Tamil Nadu, India

2	Prathyusha Engineering College, Chennai-602025, Tamil Nadu, India

3	AMET University, Kanathur, Chennai-603112, Tamil Nadu, India

(Received 18 December 2016; revised manuscript received 25 April 2017; published online 28 April 2017)

A Solar panel is considered as a proficient power hotspot for the creation of electrical energy for long years. Any deformity on the solar cell panel’s surface will prompt to decreased production of power and loss in the yield. Subsequently, the location of cracks on solar panel surfaces is the most essential stride during the inspection of solar panel, and it has important significance. In any case, these strategies cost lot of computation time and with low precision. Aiming for a few issues of the existing algorithm, a new framework is proposed to distinguish the cracks. Crack can be distinguished by utilizing optimization techniques based on segmentation. The optimization techniques are Particle Swarm Optimization (PSO), Differential Particle Swarm Optimization (DPSO) and Fractional Order Differential Particle Swarm Optimization (FODPSO). It is important to identify the crack in solar panel cells since they can directly diminish the execution of the panel and additionally the power yield. In view of the segmentation process, the potential regions which have cracks have been found, and then distinctive optimization algorithms were run on these areas to discover crack pixels. An extensive number of trials demonstrate that, this technique procures high accuracy and more complete crack contours with low computation costs.

Keywords: Solar cell, Particle Swarm Optimization (PSO), Differential Particle Swarm Optimization (DPSO) and Fractional Order Differential Particle Swarm Optimization (FODPSO)

| DOI: 10.21272/jnep.9(2).02004 | PACS numbers: 01.50.hv, 01.50.Kw |
| --- | --- |

- INTRODUCTION

Electrical energy generation has been a basic issue in aircraft and orbital hardware such as satellites. Since energy production is expensive, renewable energy sources like wind, solar energy are widely used as a suitable solution to produce electrical power. As of late, solar energy and photovoltaic (PV) have been considered as a significant electrical energy generation reserve. It can be acquired by converting solar energy to electrical power with highest efficiency and high dependability. The deformities in photovoltaic cell [1] might be because of manufacturing imperfections, misusing the panel, cracks may happen through to sharp objects while installation or might be transportation. Recently some automated crack detection methods that use image processing have been proposed.

Distinctive sort of solar cell products have been created with crystalline silicon as the most common kind of mono-crystalline varieties are delivered whereby poly-crystalline solar cells are more connected to produce solar cell panels and are more prominent than mono-crystalline ones. Whether the solar cells depend on single crystalline or polycrystalline silicon, the most vital component is avoidance of any cracks and imperfections to acquire the product with high quality.

The most common faults in solar panels are concerned with cracks which are found on the surface of solar cells which can prompt to loss of yield. In this case, during the assembly and generation processes, it is important to guarantee the obtaining of a good end-product. Sometimes mechanical cracks like micro cracks will happen on cell panels at any circumstance. They can specifically influence efficiency and may decrease the performance. It is important to distinguish cracks on solar cell panels and thus dismiss flawed products. Numerous techniques have been produced to review the solar cell panels, and these have distinctive strengths and shortcomings. Some assessment frameworks are acoustic microscopy and impact testing, radiometric pulse and thermal imaging, hyper-spectral imaging, defect surface iridescence, resonance ultrasound vibration and image processing approach to deal with the solar cell which was displayed for crack detection in solar cell panels. Still it is essential to locate a productive approach, which will be a non-contact, non-destructive and low-cost inspection framework.

Q. Li, W. Wang, et al [2] 2010, clarified the execution of an inspection based on image processing approach. They concentrated on crack discovery on the edge and inside the captured image of solar cell panel. They distinguished and grouped the cracks based on the grey value difference of the pixels between a region and its encompassing pixels. Their created framework comprised of image converting, altering of image, Gauss-Laplacian image transformation, converging of distributed points to get a coordinated region, contour recognition to recognize the cracks which are situated on inside or edge of a solar cell.

G. N. Tiwari et al [3] 2011, presented a framework in view of the image processing approach for defect identification in solar modules. They utilized semiconductor electroluminescence devices for capture from solar cell modules. They introduced distinctive types of imperfections and characterized them into black pieces, broken grid, fragmentation, and cracks in the solar cell module. Their system software was composed of gray scale transformation, binary and feature extraction. They proposed the binary method based on transformation of a feature’s gray value between different regions. Their identification method to recognize the crack from a broken grid depends on following the trajectory; a crack is distinguished in terms of the projection ratio of outermost and closest horizontal degree in each solar cell. Their outcomes for acknowledgment rate of deformities were introduced as the following: black piece is 99%, broken grid and fragmentation is 95 % and the rate for crack detection is 80 %.

D.M Tsai et al [4] 2010, the author developed an investigation framework based on machine vision for identifying micro cracks on solar cell wafers. Their framework has a quick computational operation of 0.09 s for a 640  480 image.

Fang Shuai et al [5] 2012, has proposed a framework in view of machine vision to recognize undetectable micro cracks in solar cells. To search these out, they set up an IR imaging framework to capture images of interior micro cracks. They applied flaw detection algorithms to extricate micro crack elements of solar cells. Their test result showed a 99.85 % precision of their flaw detection system.

Zou Q et al [6] 2012, introduced a emitting light material to recognize defects on solar cells in view of the current difference in intensity conveyance of electroluminescence (EL). They built up an infrared thermography strategy for defect recognition in solar cell panels. Their framework comprised of an IR camera in order to capture the image of the solar cell, propagating thermals along the surface of the solar cell and edge detection administrator to identify the edge of cracks.

Y.C. Chiou et al [7] 2010, built up a framework using acoustic estimations. It can be precise by excitation of vibratory modes in a solar cell which can identify cracks and their areas. Some non-image processing testing techniques are introduced by [1] where a review strategy in view of hyperspectral imaging to recognize cracks in solar cell panels was developed. For laser filtering and hyper-spectral imaging, the spectral angle mapper was adopted to perceive the imperfections on solar cell panels.

M. Kontges et al [8] 2011, utilizes digital image processing to recognize areas in an image by utilizing different segmentation methods. This paper gives a brief record on five of the distinctive segmentation procedures namely region growing, watershed, thresholding, crack and merge, k-means clustering techniques highlighting the points of interest and also the hindrances of each of these techniques. A change of traditional region growing segmentation method is presented which consequently chooses the seed points and develops the regions until all regions in the image are divided. The consequences of segmentation techniques introduced in the paper are not reliant on the type of image to be segmented and these techniques are utilized as a part of segmenting industrial radiographic weld images in which a few defects like porosity, absence of fusion, slag line, inadequate penetrations, and wormholes happen. The techniques are assessed on different types of images and efficiency of these techniques in the detection of a few weld imperfections is presented along with the experimental results.

Y. Nosaka et al [9] 2011, utilizes an arrangement of solar cells which are collected and interconnected into a large solar module to offer a lot of power for commercial applications. Numerous defects in a solar module can't be outwardly seen with the routine CCD imaging framework. This paper goes for defect inspection of solar modules in electroluminescence (EL) images. The solar module charged with electrical current will radiate infrared light whose intensity will be darker for intrinsic crystal grain boundaries and extrinsic defects including micro-cracks, breaks and finger interruptions. The EL image can particularly highlight the invisible defects additionally make an irregular inhomogeneous background, which makes the examination task troublesome. The proposed strategy depends on Independent Component Analysis (ICA), and includes learning and detection stage. The vast solar module image is initially divided into small solar cell sub images. In the training stage, an arrangement of defect-free solar cell sub images is utilized to find a set of independent basis images using ICA. In the inspection stage, each solar cell sub image under examination is reconstructed as a linear combination of the learned basis images. The coefficients of the linear combination are utilized as the feature vector for characterization. Likewise, the reconstruction error between the test image and its reproduced image from the ICA basis images is additionally assessed for determining the presence of defects. Test results have shown that the image reconstruction with basis images unmistakably outperforms the ICA feature extraction approach. It can accomplish a mean recognition rate of 93.4 % for a set of 80 test samples.

- OVERVIEW

In this work, image processing (both visible, near infrared, and far infrared) to examine different parts of solar cells including their materials, device operation, imperfections, variability, and unwavering quality is used. Research center ventures utilizing low-cost fluorescent cameras, visible and near-IR cameras and far-infrared thermal cameras are utilized to characterize the grain structure, defects, surface roughness, reflectivity, electroluminescence, photoluminescence, and photovoltaic operation of solar cell materials (e.g., mono-crystalline and multi-crystalline silicon wafers), thin-film and nano solar cells, commercial silicon solar cells and photovoltaic modules. The captured image can be import captured images into MATLAB or other broadly accessible image processing software for investigation and translation.

The reason for this work is to create, validate and dissipate a series of solar panel cell modules that use image capture, image processing and image analysis of photovoltaic solar cells to recognize the crack using material science and semiconductor technology including image based investigations of electrical and optical properties and deformities and image analysis of elements at a few scales (submicron, micron, mm) and in addition packaging, area variability and yield; surface metrology (e.g., micro roughness, cleanliness and surface damage, etching uniformity and characteristic geometries of micro structured surfaces); metallography (microstructure like grain boundaries and texture, i.e., favored grain orientations and size distributions and their effect on material performance); thin-film optics like anti-reflection coatings; many aspects of photo-voltaics and other optoelectronic devices, for example, LEDs, sensors; flat panel displays and other energy transformation devices like photo cathodes; basic ideas of hyperspectral and remote imaging; radiative, conductive and convective heat exchange and different heating and cooling techniques (resistive heating and convective heating /cooling, thermoelectric (Peltier) impacts, optical heating with lasers and flash lamps, ultrasonic heating); thermal and infrared material science especially identified with thermal imaging and IR optics; Thermomechanical properties of materials, for example, thermal extension and thermal initiated stresses; CCD/CMOS cameras including mobile phone and web cameras, thermal imaging cameras, and visible UV and IR quantum and thermal identifiers; image capture, image handling and image analysis such as edge sharpening and detection, skeletonization, segmentation, convolution and filtering, feature and pattern registration and recognition, scientific morphology and more advanced techniques; signal processing and signal extraction from noise, for example, actualized with filtering, phase-sensitive detection and lock-in amplification methods; Non-destructive testing including illustration of subsurface components and imperfections; robotics (pick and place, sorting, conveyer built examination); machine vision for quality and process control; reliability, as identified with, for instance, hotspots created by printed circuit panels and solar modules working in the field.

- SOLAR IMAGING MODULES

Images of solar cells directly demonstrate the microstructure, especially grain boundaries. Unlike metals, silicon uncovers its grain structure without the requirement for any sample preparation. A significant number of algorithms (including ASTM protocols) used to parameterize microstructure from images are applied. ASTM systems use lineal and areal examination and similar techniques, to determine grain estimate appropriations and grain symmetry (e.g., equi-hacked or elongated) will be executed with MATLAB.

Images of solar cells are examined to identify surface consistency and utilize standard image processing to quantify solar cell components, for example, intact or broken network lines, consistency of AR coating and micro-cracks in solar cells. Likewise coat the dry cells with standardized arrangements of particulates to quantitatively survey deformity appropriations and areal yields.

More sophisticated solar cell imaging processing, especially for micro-crack detection has been described by TSAI who used anisotropic diffusion algorithms for crack inspection of textured silicon solar cells, and for improved feature recognition, as well as imaging of laser speckle patterns.

Measure the thermal expansion of solar cell laminates using digital image correlation. Electroluminescence Imaging of Solar Cells is Similar to PL imaging, but luminescence is excited by electrical bias.

White light interferometry produces images of solar cells that demonstrate surface texture. The VEECO white light interferometer produces images that can be utilized to evaluate surface roughness. This can be contrasted with roughness estimations made by different techniques. Intensity histograms examination can be related with roughness measured by a surface stylus profiler, laser light disseminating, interferometry or atomic force microscopy). There are various MATLAB algorithms in the trade and research literature on relating parameters extricated from images with roughness estimations by non-imaging strategies. Surface roughness can be surveyed by CCD image based strategies.

Drops of different fluids (water, electrolyte solutions and organics) on semiconductor surfaces demonstrate trademark wetting edges that showed oxidation, compound formation and cleanliness. Wetting angles can be measured precisely with a CCD camera and identified with surface energies.

Image Capture of Solar Cells on a Conveyer Belt with Robotic Sorting is the significance of image capture processing and investigation to make an interpretation of the strategies to the factory floor. Here the goal is to decide how segregating and fast image processing can be done "on the fly". LBIC (Light-Beam Induced Current) studies are the traditional intends to delineate solar cell performance. A robotic arm holding laser pointers (IR, red, green, and blue emission) to scan a solar based cell and create a map of localized current generation which is delicate to deformities such as grain boundaries and shunts is utilized. Current variation is because of blemished regions of the solar cell. This LBIC guide can be compared with luminescence images of the cell. Infrared transmissions through the silicon solar cells can be imaged by placing a heated stage behind the solar cell, which goes about as a blackbody source. The free carriers make absorption impacts with the end goal that the transmission thermal image maps the imperfections of the solar cell.

Scanning a Solar Cell Surface with a Laser Light Scatter is a process where the laser light scattering estimation is regularly a point (0.5 mm) measurement. A modified robotic arm to filter the solar cell and map surface roughness of solar cells can be utilized. In Photoluminescence (PL) Imaging of Solar Cells the solar cell can be excited with a laser or flash light and (with filtering) the infrared photoluminescence can be imaged with a CCD camera with silicon or close infrared. In GaAs detector the components are mid-IR MCT indicator components.

Fluorescent dyes are retained on the surface of the solar cell and can be expelled by rinsing. Fluorescent imaging, exciting with a UV light and recognizing visible emission reveals the viability of cleaning systems. A DOE (Design Of Experiments) to enhance cleaning is performed. Clean surfaces are significant in numerous technologies including medical devices. The image for review is presently empowered by the late advancement of high-power, ultra-broadband "white light" laser-like sources (400 nm to 2 micron wavelengths, 6 W control) with coherence and collimation more like lasers than conventional light sources. These are currently accessible from FianiumInc (Eugene, OR and UK) for a few thousand dollars with optical fiber outputs.

Secure thermography is generally a late advancement in imaging and can be accomplished for some imaging modalities. Secure procedures demonstrate the utility of quadrature (stage delicate location) and are the guideline of present day MRI and NMR imaging, and are utilized progressively as a part in medical fields, and Non-Destructive thermography in the aerospace, electronics, and automobile industries. Temperature difference sensitives in the 10 micro Kelvin range are practical. Numerous thermal cameras have external triggering for secure imaging. Secure thermography permits the thermal waves (and reflections at interfaces and deformities) to be imaged in pulse thermography strategies, the investigation of which involves extremely intriguing transient heat conduction examination and image processing from the point of view of signal recovery and minimization of noise impacts.

- Proposed system

The crack in solar panel cell has been identified by different optimization algorithms and the crack may be due to manufacturing defects, mishandling etc. It makes sense that for maximum power generation, each solar cell panel must be in good working condition. To give this affirmation, both post production and once the panel is working in the field, the industry is expanding utilizing thermal imaging as its preferred strategy for finding defects.

Thermal imaging permits irregularities to be seen plainly and, unlike other techniques, can be utilized to scan installed solar panels amid normal operation. It is profoundly a time effective process as a substantial region can be examined in minutes. Cooled thermal imaging cameras have been utilized as a part of the innovative work of solar panel technology for a long time however it is the commercial uncooled cameras that are normally satisfying the post-production, quality control and maintenance applications.

  - Steps of Software Component

The input image of the solar panel surface has been captured from the camera while running the Matlab code for Particle Swarm Optimization (PSO), Differential Particle Swarm Optimization (DPSO) and Fractional Order Differential Particle Swarm Optimization (FODPSO) to recognize the crack which frequently occurs on the edges. For this situation, optimizing of edge detection will be performed on pixels from the captured image as indicated by the path of the connected curves on the image. So, the edges of regions will be recognized.

In this technique, two vital parameters were considered, i.e. homogeneity and uniformity from curves. They were applied to make the objective function for BF edge detection. This technique can likewise be utilized as a part of noisy images and there is no compelling reason to apply any filter. The mechanism of the edge detection operator depended on encoding the characteristic of the image to an integer value between 0 and 8.These values encoded as a particle depend on the direction of the movement on a curve. Thus any particle is denoted as k1, k2, k3… kn, where ki is an integer value between 0 and 8.

Homogeneity is likeness of homogeneity pixels on a curve and uniformity is the similarity of intensity of pixels along the curve. In this method, measuring homogeneity for Homogeneity and measuring similarity of intensities for Uniformity of pixels will be considered. Identified edges ought to be removed with the goal that a few features, for example, cracks and bus bars will be perceived.

The sensed image is acquired from an ordinary CCD camera and light source that demonstrates the cracks with low gray levels and high gradients. The diffusion procedure smoothens the presumed defect region and preserves the crystal grain background. The crack area can then be well identified by subtracting the diffused image from the original image. The strategy is particularly intended to recognize micro cracks assuming micro-cracks exhibit darker intensity and higher gradient from their surrounding in the CCD-captured image.

The typical CCD image can't identify the invisible internal cracks and the algorithms can just recognize the specific outer micro-cracks in solar wafers [10]. In the existing method the mean-shift algorithm to recognize three types of defects like saw-mark, unique mark and fingerprint and contamination in multi-crystalline solar wafers can be identified.

The target defects generally present high variation of gradient directions, while crystal grain edges show more consistent gradient directions. The original dark level wafer image is initially converted into an entropy image, where every pixel characterized in a small neighborhood window is represented by the entropy of gradient directions. The mean-shit smoothing procedure is then performed to evacuate remove noise and grain edges in the entropy image. The final edge points remained in the filtered image is identified as defective ones.

  - Algorithms Used

- Particle Swarm Optimization (PSO)

- Differential Particle Swarm Optimization (DPSO)

- Fractional Order Differential Particle Swarm 
Optimization (FODPSO)

- METHODOLOGY AND IMPLEMENTATION

Using a camera, image is captured as a gray scale format as shown in Fig. 1 and Fig. 2.

Fig. 1 – Input image 1

Fig. 2 – Input image 2

Segmentation is one of the well known methods used to detect flaws in weldments. Generally the flaws that happen are wormholes, inclusion, lack of fusion, porosity, incomplete penetrations, slag line and cracks. In this paper five types of segmentation techniques which are utilized to identify these flaws are presented. This identification of flaws is utilized in industrial setting other than deciding the quality of weldments. The region growing segmentation method gives great results for absence of penetration, cuts and cavity flaws and the watershed segmentation method gives viable results for lack of fusion, slag inclusion and slag lines [11].

Segmentation strategies like region growing, watershed are used to distinguish flaws in weldments [12]. The consequences of region growing and watershed segmentation techniques are compared [13]. Segmentation normally brings about grouping of adjacent pixels which are similar in some sense. Generally, there are two types of segmentation techniques; one based on discontinuity property of intensities which is referred to as region based segmentation and the other based on similarity property of intensities.

This paper gives an account of region growing, thresholding, watershed, crack and merge and k-means clustering segmentation. Region growing, crack and merge, k-means and watershed segmentation are region based, while thresholding is discontinuity based. The swarm particle concentrates on the number of pixels which are on a curve, because the best edges exist on curves. It applies for any pixel of an image in order to locate the best curve. In this case, optimizing of edge detection will be performed on pixels from the captured image according to the path of the associated curves on the image. Thus, the edges of regions will be identified.

Using MATLAB coding input solar panel image has been captured through Camera. The input image 1 for PSO is shown in Fig. 3. The 4th level output image corresponding to PSO, DPSO and FODPSO is shown in Fig. 4, Fig. 5 and Fig. 6 respectively.

Fig. 3 – Input image 1 for PSO

Fig. 4 – Output image for 4th level PSO

Fig. 5 – Output image for 4th level DPSO

Fig. 6 – Output image for 4th level FODPSO

  - Experimental Value for Input Image 1

Three levels (level 2, level 3 and level 4) are performed for PSO, DPSO and FODPSO algorithm. The input mean and S.D. is kept constant at 142.97 and 64.81 respectively for all the three algorithms. The output mean and S.D. for PSO 2nd level corresponds to 63.63 and 75.35 respectively. Similarly he output mean and S.D. for PSO 3rd level corresponds to 81.62 and 82.45 respectively. For 4th level the output mean and S.D. are 93.53 and 88.53 respectively.

In case of DPSO, output mean obtained is 63.64 and the S.D. is 75.63. Similarly for 3rd and 4th level of DPSO the output mean and S.D. corresponds to 81.68 and 87.73, 93.43 and 88.68 respectively. For FODPSO, the output mean and S.D. for level 2, level 3, level 4 corresponds to 63.64 and 75.63, 81.55 and 87.69, 93.77 and 88.32 respectively.

  - Experimental Value for Input Image 2

The input mean and S.D. for PSO, DPSO and FODPSO algorithm for level 2, level 3 and level 4 is maintained at 86.01 and 48.52 respectively. The output mean and S.D. of level 2, level 3, level 4 for PSO algorithm is 21.99 and 45.15, 40.27 and 56.62, 45.57 and 60.06 respectively. Similarly for DPSO algorithm the output mean and S.D. for level 2, level 3, level 4 is 30.00 and 48.68, 40.17 and 56.87, 45.28 and 60.25 respectively. For FODPSO algorithm the output mean and S.D. for level 2, level 3, level 4 is 30.00 and 48.68, 40.19 and 56.79, 45.48 and 60.11 respectively.

- CONCLUSION

The early discovery of micro-cracks in solar cells is vital in the production of PV modules. This paper focuses on image processing scheme composed of segmentation procedures in view of various optimization algorithms. Since solar cell panel is considered as an efficient power source for the generation of electrical energy for long years, any defect on the solar cell panel's surface will prompt to reduce the production of power and loss in the yield. The outcomes demonstrate that the segmentation procedures can detect and recognize micro-crack pixels efficiently in the presence of various forms of noise.

REFERENCES

- M. Köntges, I. Kunze, S. Kajari-Schröder, X. Breitenmoser, B. Bjørneklett, Sol. Energy. Mater. Sol. C. 95, 1131 (2011).

- Q. Li, W. Wang, C. Ma, Z. Zhu, Opt. Laser Technol. 42 No 6, 1010 (2010).

- G.N. Tiwari, R.K. Mishra, S. Solanki, Appl. Energ. 88 No 7, 2287 (2011).

- D.M. Tsai, C.C. Chang, S.M. Chao, Image Vis. Comput. 28 No 3, 491 (2010).

- Fang Shuai, Li Bin, He Xiang-Hao, J. Chinese Comput. Systems 33 No 8, 1868 (2012).

- Q. Zou, Y. Cao, Q. Li, Pattern Recognition Letters 33 No 3, 227 (2012).

- Y.C. Chiou, M.J.Z. Liu, Sensor Rev. 31, 10 (2010).

- M. Kontges, L. Kunze, S. Kajari-Schroder, X. Breitenmoser, B. Bjorneklett, Sol. Energ. Mater. Sol. C. 95, 1131 (2011).

- Y. Nosaka, L.A. David, D.S. Gregory, P.W. Gary, Solar Cells and Photocatalysts, in Comprehensive Nanoscience and Technology (Academic Press: Amsterdam: 2008).

- D.M. Tsai, C.C. Chang, S.M. Chao, Image. Vis. Comput. 28, 491 (2010).

- Sangita Dubey, Kamal Shah, Int. J. Adv. Eng. Technol. 3 No 2, 765 (2012).

- V.R. Rathod, R.S. Anand, Alaknanda, Proceedings of the 2nd International Conference on Computer and Automation Engineering (ICCAE), 673 (Singapore: 2010).

- V. Vaithiyanathan, M.M. Raj Anishin, B. Venkataraman, Eur. J. Sci. Res. 66 No 3, 449 (2011).

dafny2708@gmail.com